## new sheet
Product Model:GMV-ND09ZD/A-T(U)
Product Code:CM600N0420
EV Chart:VND50ZDAT.BZ000000.20151121.pdf
NO. | Part Description | 中文描述 | qty | Part Code | avai | OriginalityDate | UpdateDate | Replace Code | Rmark
1 | Sensor Sub-assy | 感温包组件(有下挂) | 1 | 39008000101G | yes | 20151121 | 20170911
2 | Connection Board | 连接板(右侧板) | 1 | 02229406 | yes | 20151121 | 20171008
3 | Right Cover Plate | 右盖板 | 1 | 26909444 | yes | 20151121 | 20171008
4 | Plate Board of Water Releasing Flume | 引水槽压板 | 1 | 26909442 | yes | 20151121 | 20171008
5 | Installation Supporting Frame | 安装支架(右) | 1 | 01809402 | yes | 20151121 | 20171008
6 | Axile Bush | 轴套(原色) | 2 | 10542704 | yes | 20151121 | 20171008
7 | Right Side Plate Sub-Assy | 右侧板组件 | 1 | 01319429 | yes | 20151121 | 20171008
8 | Water Releasing Flume | 引水槽 | 1 | 02284106P | yes | 20151121 | 20170911
9 | Connection Board | 连接板(蒸发器) | 1 | 01344115 | yes | 20151121 | 20170911
10 | Electronic Expansion Valve Sub-Assy | 电子膨胀阀组件 | 1 | 43044100110 | yes | 20151121 | 20170911
11 | Strainer | 过滤器 | 2 | 0741410000601 | yes | 20151121 | 20170911
12 | Guide Louver | 导风板 | 2 | 10619403 | yes | 20151121 | 20171008
13 | Front Connection Board | 前连接板 | 1 | 01349414P | yes | 20151121 | 20171008
14 | Air Louver | 扫风叶片 | 16 | 10619404 | yes | 20151121 | 20171008
15 | Rotating Shaft | 转轴3 | 4 | 26909430 | yes | 20151121 | 20171008
16 | Guide Louver Supporter Sub-assy | 导风板支架组件 | 1 | 0180941601 | yes | 20151121 | 20170911
17 | Fixed Mount | 固定架(显示板)(植绒) | 1 | 26909426R | yes | 20151121 | 20171008
18 | Display Board | 显示板 Z4L25 | 1 | 30294000009 | yes | 20151121 | 20170911
19 | Rear Side Plate Assy | 后侧板部件 | 1 | 01319400008 | yes | 20151121 | 20170911
20 | Evaporator Assy | 蒸发器部件 | 1 | 01024100126 | yes | 20151121 | 20170911
21 | Rotating Shaft | 转轴1 | 1 | 26909413 | yes | 20151121 | 20171008
22 | Connecting Rod | 连杆 | 1 | 26909411 | yes | 20151121 | 20171008
23 | Rotating Shaft | 转轴2 | 1 | 26909412 | yes | 20151121 | 20171008
24 | Stepping Motor | 步进电机 MP35CG | 1 | 1521240206 | yes | 20151121 | 20170911
25 | Installation Supporting Frame | 安装支架(左) | 1 | 01809401 | yes | 20151121 | 20171008
26 | Left Side Plate Sub-Assy | 左侧板组件 | 1 | 01319428 | yes | 20151121 | 20171008
27 | Electric Box Assy | 电器盒部件 | 1 | 01394100587 | yes | 20151121 | 20171008
28 | Main Board | 主板 Z6L35K(总装拨码) | 1 | 30226000029 | yes | 20151121 | 20171008
29 | Electric Box Cover | 电器盒盖 | 1 | 01429420 | yes | 20151121 | 20171008
30 | Left Cover Plate | 左盖板(杏灰) | 1 | 2690944302 | yes | 20151121 | 20170911
31 | Terminal Board | 接线板(2位) | 1 | 42011106 | yes | 20151121 | 20170911
32 | Terminal Board | 接线板(4位) | 1 | 4201800002601 | yes | 20151121 | 20170911
33 | Mid-clapboard sub-assy | 中间隔板组件 | 1 | 01249416 | yes | 20151121 | 20171008
34 | Support Of Motor Bearing | 电机轴承座 | 2 | 01792408 | yes | 20151121 | 20171008
35 | O-Gasket of Bearing | 轴承胶圈 | 1 | 76512404 | yes | 20151121 | 20170911
36 | Rotary Axis Sub-Assy | 转动轴组件 | 2 | 73018000037 | yes | 20151121 | 20170911
37 | Centrifugal Fan | 离心风叶 | 4 | 10425200 | yes | 20151121 | 20171008
38 | Joint Slack | 联轴器 | 2 | 73018731 | yes | 20151121 | 20171008
39 | Supporter | 支架2(电机) | 1 | 01809400002 | yes | 20151121 | 20170914
40 | Fan Motor | 无刷直流电机 FG60A-ZL | 1 | 15704100001 | yes | 20151121 | 20170911
41 | Supporter | 支架1(电机) | 1 | 01809400023 | yes | 20151121 | 20170911 | replace 01809400001
| Supporter | 支架1(电机) | 1 | 01809400001 | no
| Supporter | 支架1(电机) | 01809400001 | no |  | 1
42 | Rear Connection board | 后连接板 | 1 | 01349422 | yes | 20151121 | 20170911
43 | Front Volute Casing | 前蜗壳 | 4 | 26905205 | yes | 20151121 | 20171008
44 | Rear Volute Casing | 后蜗壳 | 4 | 26905206 | yes | 20151121 | 20171008
45 | Remote Controller | 遥控器 YAP1F | 1 | 30510589 | yes | 20151121 | 20170911
46 | Electric expand valve fitting | 电子膨胀阀线圈 UKV | 1 | 4304413203 | yes | 20151121 | 20170911
47 | Water Tray Assy | 接水盘部件 | 1 | 01289404 | yes | 20151121 | 20171008
48 | Top Cover Board Sub-assy | 上盖板组件 | 1 | 01269409 | yes | 20151121 | 20171008
49 | Front Grill sub-assy | 面板格栅组件 | 2 | 01579403 | yes | 20151121 | 20171008
50 | Drainage Pipe Sub-assy | 排水管组件 | 1 | 05235434 | yes | 20151121 | 20171008